{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":8,"n_cols":5,"rows_kept":8,"merged":[[0,0,0,4],[3,1,6,1],[3,4,7,4]]}
["常德市妇幼保健院2022年医用设备推介目录"]
[{"$nulls":4},"2022-10-18"]
["序号","申请\n科室","设备名称","配置要求","备注"]
[1,"超声影像科","彩色多普勒便携式超声诊断仪","一个心脏探头、一个腹部探头、一个高频探头（浅表）、一个阴道探头","仪器均需配置图文处理工作站，并且开放端口与我院信息系统连接，DR和小儿胃肠镜需配置医用专业显示器。"]
[2,null,"彩色多普勒超声诊断仪","要求妇产方面：1、四维容积：腹部探头一个、阴道探头一个；2、高频探头1个（单晶体）、3；腹部探头1个（单晶体）"]
[3,null,"彩色多普勒超声诊断仪","要求全身机：1、四维容积腹部探头一个；2、腹部探头1个（肝、胆、脾）；3、心脏探头一个；4、高频探头一个"]
[4,null,"DR 数字胃肠机","既能完成全身DR照片又能完成子宫输卵管造影、消化道造影。"]
[5,"儿科","小儿胃肠镜","1、全套（光源、摄像系统、工作站）2、小儿胃镜一条、小儿肠镜一条、成人胃镜一条、成人肠镜一条"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}